## Calculator
W A T E R H A R V E S T I N G A N D C O N S E R V A T I O N C A L C U L A T O R
For Clackamas County, Oregon
Provided by Clackamas County Soil and Water Conservation District and by Clackamas River Water Providers
What is WATER HARVESTING? Rainwater harvesting is a method of collecting, storing, and using rainwater that falls on a solid impervious surface, such as a roof. Rainwater harvesting has multiple benefits, including reducing the demand for fresh water from other sources and reducing the detrimental impacts of increased runoff from urbanization and development. Water harvesting conserves water by tapping into a readily available source (rain) and saving it for a later date as well as protects soils by reducing erosion caused by increased stormwater runoff. Not all your irrigation needs will be met by rainwater harvesting so it is important to also look at other ways of conserving water in your landscape.
How does water harvesting WORK? Typical water harvesting is accomplished by directing roof down spouts to a storage device, such as a barrel or tank, instead of letting the water run directly onto the ground or into a pipe. This allows the water to be saved until it is needed.
What does this CALCULATOR do? The purpose of this spreadsheet is to aid the user in evaluting the Rainwater Harvesting approximate potential for a given site. Instructions are provided in the green column on the left that help with step-by-step procedures. The user can lookup and enter rainfall information for a specific location in Clackamas County, and then can add specific information for the amount of roof area that is available, the size or potential design size of the water storage units, and some information regarding rough estimated watering needs. For the entered information, the spreadsheet estimates the water volumes that are collected, stored, and used on a monthly basis. It does this by using standardized monthly rainfall distributions and rough estimated monthly watering rates. This spreadsheet calculates the largest useful storage size by several methods and also calculates the amount of landscape that can irrigated by the design storage size and recommended storage size.
What are the LIMITATIONS of this calculator? None of the calculated sizes are requirements, only possibilities based on entered site data and basic calculation assumptions. None of the displayed preciptation values are guarantees, only averages. None of the watering rates are guaranteed optimum values, only base calculation values. None of the cost rates or values are guarranted estimates, and only represent ballpark figures.
Where can I get MORE INFORMATION? At the bottom of this spreadsheet contact information is provided for Clackamas County Soil and Water Conservation District and for Clackamas River Water Providers. Additional reference information can be found by clicking on the "References" tab below on the spreadsheet border.
INSTRUCTIONS |  | DATA ENTRY | [8 empty] | SUPPLEMENTAL INFORMATION
STEP 1: Enter the Average Annual Precipitation for the desired location. Precipitation values can be found on the table or the map on the "Annual Precipitation" sheet. To see the "Annual Precipitation" sheet, click on the "Annual Precipitation" tab below on the spreadsheet border or click the underlined link text to the right under "Supplemental Information." Note: A precipitation value may be taken from another source instead. |  | Average Annual Precipitation: |  | User Name (optional) |  | Location Name (optional) |  | Precipitation, inches |  |  | Click here to go to the "Annual Precipitation" sheet.
|  | Example: |  | Bob Jones |  | Wilbur Ranch |  | 45
Location #1
STEP 2: Enter the surface area(s) from which the rain water will be collected. Usually this is a roof area, such as for a house or barn. Enter all of the areas that are connected to the same storage system. Enter the surface name (optional) and then the area in square feet. Note: If separate (not connected) storage systems are used, complete a separate spreadsheet for each system. |  | Impervious Surface Data: |  | Surface Name (optional) |  | Surface Area, square feet
|  | Example: |  | Barn roof |  | 960
Surface #1
Surface #2
Surface #3
Surface #4
|  | Total: |  |  |  | 0
STEP 3: Enter the storage volumes to be used. Multiple connected tanks, vaults, and/or barrels can be entered. The calculations assume that the water levels can easily equalize between the storage units. A rule of thumb for estimating storage tank costs is $1 per gallon of storage. Enter first the storage unit name (optional) and then the storage unit volume in gallons. Note: If separate (not connected) storage systems are used, complete a separate copy of this spreadsheet for each system. |  | Storage Unit Data: |  | Storage Unit Name (optional) |  | Storage Unit Volume, gallons |  |  |  |  | For a circular (cylindrical) tank the volume can be determined as follows:
|  | Example: |  | Tank |  | 2000 |  |  |  |  | 1. Determine the diameter , D, in feet.
|  | Unit #1 | [8 empty] | 2. Determine the height, H, (or length if horizontal) in feet
|  | Unit #2 | [8 empty] | 3. Use this formula to determine the volume (V) in cubic feet:
|  | Unit #3 | [8 empty] | V = H x 3.142 x D^2 / 4
Unit #4
|  | Total: |  |  |  | 0 |  |  |  |  | 4. Convert from cubic feet to gallons by multiplying by 7.48.
STEP 4: Enter the preferred watering data. Enter the watering area name (optional), then choose the most appropriate Watering Area Type from the "Watering Type Chart" to the right and enter the corresponding Watering Code letter. Finally, enter the watering area in square feet. |  | Watering Data: |  | Watering Area Name (optional) |  | Watering Code |  | Watering Area, sf |  |  | Watering Type Chart
|  | Example: |  | West lawn |  | A |  | 600
|  | Usage #1 | [8 empty] | Watering Code |  | Watering Area Type
|  | Usage #2 | [8 empty] | A |  | Traditional Lawn
|  | Usage #3 | [8 empty] | B |  | Flower Garden
|  | Usage #4 | [8 empty] | C |  | Vegetable Garden
|  | Usage #5 | [8 empty] | D |  | Fruit Orchard
|  | Usage #6 | [8 empty] | E |  | Re-establishment of native vegetation
STEP 5: Click on the "Results for Printing" tab below on the the spreadsheet border to see the "Results for Printing" sheet, which can be printed as a record of these calculations. Alternately, click the underlined link text to the right to go to the "Results for Printing" sheet. | [10 empty] | Click here to go to the "Results for Printing" sheet.
INTERIM OUTPUT (ALSO SEE "RESULTS FOR PRINTING" SHEET)
Note: The calculations assume that the storage system is dry at the beginning of September when the rain season starts.
Description | Units | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | ANNUAL TOTALS |  | Units
HIDE THIS ROW |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Storage volume (from prior month) | gallons | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | N/A |  | gallons
Calculations for Water into the Tank
Rainfall | inches | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | inches
Runoff | gallons | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | gallons
Rainwater harvested (captured & stored) | gallons | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | gallons
Rainwater overflow | gallons | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | gallons
Calculations for Water out of the Tank
Watering needs for landscaping | gallons | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | gallons
Direct rainfall on landscaping | gallons | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | gallons
Harvested water used for watering | gallons | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | gallons
Additional water needed for irrigation | gallons | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | gallons
Storage volume balance (end of month) | gallons | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | N/A |  | gallons
HIDE THIS ROW. If rows does not show zeros, there is a problem. | gallons | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  |  | gallons
Largest recommened storage size for capturing water (for ANY use) | gallons | Sep 1: Essentially, the tank size required to capture all the rainy season water for ANY dry season use. (Calculation based on rain from Step 1, on available impervious area from Step 2, and on a seven-month watering season) | 0 |  | gallons
Largest recommened storage size for watering needs | gallons | Sep 1: Essentially, the same as above but checking to see if the given watering needs could be managed with a smaller storage volume. This is an iterative calculation and may require more than one iteration. (Calculation based on rain from Step 1, on available impervious area from Step 2, on irrigation needs entered in Step 4, and on a seven-month watering season) | #N/A |  | gallons
CALCULATOR DEVELOPMENT BY:
Clackamas County Soil and Water Conservation District |  | Dec 4: Clackamas River Water Providers; Jul 11: NW Engineers
421 High Street, Suite 105 |  | Dec 4: 14275 S. Clackamas River Road; Jul 11: 19075 NW Tanasbourne Drive, Suite 160
Oregon City, OR 97045 |  | Dec 4: Oregon City, OR 97045; Jul 11: Hillsboro, OR 97124
Telephone: 503-656-3499 |  | Dec 4: Telephone: 503-723-3511; Jul 11: Telephone: 503-601-4401
Email: clackamas.swcd@oacd.org |  | Dec 4: Email: christine@clackamasproviders.org; Jul 11: Email: inbox@nw-eng.com
www.cc-swcd.org |  | Jul 11: www.nw-eng.com
Version 1.2, cc-swcd | [14 empty] | June 6, 2008

## Annual Precipitation
A N N U A L P R E C I P I T A T I O N
INSTRUCTIONS | Average Annual Precipitation by Town |  | Average Annual Precipitation Map for Clackamas County, Oregon
Rainfall determination: Find the desired location in the table of towns or on the map provided. Take the Average Annual Precipitation value from the table or the map and enter the value in the space provided on the Calculator worksheet. To return to the Calculator worksheet, click on the Calculator tab at the bottom of the screen. Note: The values shown are averages only and can vary greatly from year to year. | Town | Inches
| Barlow | 45
| Barton | 50
| Beaver Creek | 55
| Boring | 55
| Brightwood | 85
| Canby | 45
| Carver | 55
| Cherryville | 65
| Clackamas | 45
| Colton | 55
Click here to Return to the Calculator sheet. | Cotrell | 55
| Damascus | 55
| Eagle Creek | 50
| Estacada | 55
| Faubion | 85
| Government Camp | 85
| Jennings Lodge | 45
| Kelso | 55
| Lake Grove | 45
| Macksburg | 45
| Marquam | 45
| Milwaukie | 45
| Mollala | 45
| Mulino | 45
| Needy | 45
| Oak Grove | 45
| Oregon City | 45
| Park Place | 45
| Redland | 45
| Rhododendron | 85 | Source: Rainfall information adapted from data published by Oregon Climate Service, OSU. Values listed are approximate averages and can vary greatlly from year to year.
| Sandy | 60
| Stafford | 45
| Welches | 85
| Wenime | 90
| West Linn | 45
| Wilhoit | 60
| Yoder | 45
| Zigzag | 85

## Results for Printing
W A T E R H A R V E S T I N G A N D C O N S E R V A T I O N C A L C U L A T O R
For Clackamas County, Oregon
Provided by Clackamas County Soil and Water Conservation District and by Clackamas River Water Providers
Clackamas County Soil and Water Conservation District |  |  |  |  | Clackamas River Water Providers | [6 empty] | NW Engineers
421 High Street, Suite 105 |  |  |  |  | 14275 S. Clackamas River Road | [6 empty] | 19075 NW Tanasbourne Drive, Suite 160
Oregon City, OR 97045 |  |  |  |  | Oregon City, OR 97045 | [6 empty] | Hillsboro, OR 97124
Telephone: 503-656-3499 |  |  |  |  | Telephone: 503-723-3510 | [6 empty] | Telephone: 503-601-4401
Email: clackamas.swcd@oacd.org |  |  |  |  | Email: kims@clackamasproviders.org | [6 empty] | Email: inbox@nw-eng.com
www.cc-swcd.org | [11 empty] | www.nw-eng.com
USER-ENTERED DATA | [9 empty] | QUICK OUTPUT
GENERAL | User Name |  | Location Name |  | Precipitation, inches
| - |  | - |  | - |  |  |  |  | Total Surface Runoff |  |  | 0 |  | gallons
IMPERVIOUS SURFACES | Name |  | Area, sf | [6 empty] | Total Rainwater Captured |  |  | #N/A |  | gallons
Surface #1 | - |  | - | [6 empty] | Total Rainwater Overflow |  |  | #N/A |  | gallons
Surface #2 | - |  | - | [6 empty] | Total Rainwater Used |  |  | #N/A |  | gallons
Surface #3 | - |  | -
Surface #4 | - |  | - | [6 empty] | Total Watering Needs |  |  | #N/A |  | gallons
[10 empty] | Dry Season Rain |  |  | 0 |  | gallons
STORAGE UNITS | Name |  | Volume, gal | [6 empty] | Harvested Rain Used |  |  | #N/A |  | gallons
Unit #1 | - |  | - | [6 empty] | Supplemental Watering |  |  | #N/A |  | gallons
Unit #2 | - |  | -
Unit #3 | - |  | - | [6 empty] | Very Rough Planning Cost For Storage Units |  |  | 0
Unit #4 | - |  | -
[10 empty] | Very Rough Annual Cost Savings For Water Use |  |  | #N/A
WATERING AREAS | Name |  | Area, sf |  | Landscape type
Usage #1 | - |  | - |  | #N/A
Usage #2 | - |  | - |  | #N/A
Usage #3 | - |  | - |  | #N/A |  |  |  |  | Largest Useful Tank for Site |  |  | #N/A |  | gallons
Usage #4 | - |  | - |  | #N/A
Usage #5 | - |  | - |  | #N/A |  |  |  |  | Servicable Area (as Lawn) for Largest Useful Tank |  |  | 0 |  | square feet
Usage #6 | - |  | - |  | #N/A
CALCULATION SUMMARY
Note: The calculations assume that the storage tanks are dry at the beginning of September when the rain season starts.
Description | Units | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | ANNUAL TOTALS |  | Units
Storage volume (from prior month) | gallons | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | N/A |  | gallons
Calculations for Water into the Tank
Rainfall | inches | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | inches
Runoff | gallons | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | gallons
Rainwater harvested (captured & stored) | gallons | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | gallons
Rainwater overflow | gallons | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | gallons
Calculations for Water out of the Tank
Watering needs for landscaping | gallons | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | gallons
Direct rainfall on landscaping | gallons | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | gallons
Harvested water used for watering | gallons | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | gallons
Additional water needed for irrigation | gallons | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | gallons
Storage volume balance (end of month) | gallons | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | N/A |  | gallons
What is the largest tank I could use based on my impervious area and rainfall? (Largest recommened storage size for capturing water (for ANY use)) | gallons | Essentially, the tank size required to capture all the rainy season water for ANY dry season use. (Calculation based on rain from Step 1, on available impervious area from Step 2, and on a seven-month watering season) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | gallons
What is the largest tank I could use for my site if I only have a small area I want to water? (Largest recommened storage size for watering needs) | gallons | Essentially, the same as above but checking to see if the given watering needs could be managed with a smaller storage volume. This is an iterative calculation and may require more than one iteration. (Calculation based on rain from Step 1, on available impervious area from Step 2, on irrigation needs entered in Step 4, and on a seven-month watering season) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | 0 | gallons
I know what size tank I have or am going to install (as entered); how much area could it provide water for? (Servicable watering area per user-entered storage. Storage is assumed full at end of winter.) |  | Sep: Traditional Lawn | 0 |  | sf
|  | Sep: Flower Garden | 0 |  | sf
|  | Sep: Vegetable Garden | 0 |  | sf
|  | Sep: Fruit Orchard | 0 |  | sf
|  | Sep: Re-establishment of native vegetation | 0 |  | sf
If I install the largest recommended tank size (to collect water for ANY use), how much area could it provide water for? (Servicable watering area for largest recommended storage size for ANY use with some hot-weather supplemental water) |  | Sep: Traditional Lawn | 0 |  | sf
|  | Sep: Flower Garden | 0 |  | sf
|  | Sep: Vegetable Garden | 0 |  | sf
|  | Sep: Fruit Orchard | 0 |  | sf
|  | Sep: Re-establishment of native vegetation | 0 |  | sf
Note: Appropriate watering rates are always dependant on local conditions. Watering method, soils, and climate will have significant impacts on the moisture available to roots. This tool is only meant to provide gross planning calculations. The District and its partners will accept no liability for any calculations developed from this spreadsheet. The most effective method for determining soil moisture, and hence evaluating water rates, is to dig a hole and then look at and feel the soil at the roots.
CHARTS
Click here to return to the "Calculator" sheet.

## References
R A I N W A T E R H A R V E S T I N G W E B S I T E A N D I N F O R M A T I O N
WEBSITES
http://www.twdb.state.tx.us/publications/reports/RainHarv.pdf | [5 empty] | http://www.uwec.edu/grossmzc/WATER/
http://www.arcsa.org/ | [5 empty] | http://www.tn.gov.in/dtp/rainwater.htm
http://www.greenbuilder.com/sourcebook/Rainwater.html | [5 empty] | http://www.rainwaterharvesting.org/Rural/whim_tradi.htm
http://www.eng.warwick.ac.uk/DTU/rwh/links.html | [5 empty] | http://www.rainharvesting.com
http://www.conserveh2o.org
The Clackamas Soil and Water Conservation District does not validate any of these websites for accuracy.
INFORMATION
“Rainwater Collection for the Mechanically Challenged” | [5 empty] | American Rainwater Catchment Systems Association
Banks & Heinichen | [5 empty] | www.arcsa-usa.org
“Texas Guide To Rainwater Harvesting” | [5 empty] | North American Rainwater Harvesting Conference
www.twdb.state.tx.us | [5 empty] | Seattle, Wa. July 2005
Clackamas Soil & Water Conservation District has a power point presentation on their opening page at
www.cc-swcd.org
R A I N B A R R E L S U P P L I E R S A N D I N S T A L L E R S I N O R E G O N
Bartford Clowley - Rain barrels | [5 empty] | Solarc Architecture and Engineering - Design and Install
1304 SE 48th Ave | [5 empty] | 223 W. 12th Ave
Portland, OR 97125 | [5 empty] | Eugene, OR 97401
Beth Young Garden Design - eco-Garden design, including rain gardens | [5 empty] | The Rainbarrel Man Company - Rain barrels
534 N.W. 4th Street | [5 empty] | 5024 3/4 NE. 30th St.
Corvallis OR 97330 | [5 empty] | Portland, Oregon 97211
ESP Water Products - Water Filters and Information | [5 empty] | Urban Garden Center - Rain barrels
P.O. Box 348 | [5 empty] | 1514 SW Highland Ave.
Sixes, OR 97476 | [5 empty] | Redmond, OR 97756
Jerry's Home Improvement Center - Gutters | [5 empty] | Wilbur-Ellis - Tanks
2600 Highway 99 N | [5 empty] | 30655 Highway 34
Eugene, OR 97405 | [5 empty] | Albany, OR
Harvest the Sky, Inc - Rain barrels and Rainwater harvesting systems | [5 empty] | Yoshida Food Products - Rain barrels
1304 SE 48th Avenue | [5 empty] | 8338 NE Alderwood Rd
Portland, OR 97215 | [5 empty] | Portland, OR 97220
Miles Fiberglass - Tanks
1516 Main
Oregon City, OR 97214
C O N S T A N T S A N D O T H E R D A T A
Conversions |  | Values
Conversions
Cubic feet to gallons |  | 7.4805
Acres to square feet |  | 43560
Monthly Rainfall Distribution, inches/month |  | Month | [11 empty] | Source: Oregon Climate Service, OSU
Index | Rainfall Station | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Annual
A | Estacada 2 Se | 2.47 | 4.77 | 8.45 | 8.47 | 8.04 | 6.95 | 6.18 | 5.08 | 4.04 | 2.68 | 1.07 | 1.28 | 59.48
B | Government Camp | 3.6 | 6.51 | 13.13 | 14.38 | 12.86 | 10.23 | 8.5 | 7.54 | 5.2 | 3.8 | 1.36 | 1.61 | 88.72
C | Headworks Ptld Wtr Br | 3.9 | 6.23 | 10.9 | 11.3 | 10.42 | 9 | 8.19 | 7.04 | 5.6 | 4.07 | 1.57 | 1.86 | 80.08
D | N Willamette Exp Stn. | 1.77 | 3.36 | 6.48 | 6.75 | 5.94 | 5.07 | 4.28 | 3.14 | 2.5 | 1.75 | 0.73 | 0.83 | 42.6
E | Oregon City | 1.93 | 3.48 | 6.79 | 7.23 | 6.59 | 5.51 | 4.7 | 3.46 | 2.7 | 1.83 | 0.83 | 1 | 46.05
F | Scotts Mills 8 SE | 3.35 | 6.19 | 12.23 | 12.47 | 11.64 | 9.87 | 9.03 | 6.85 | 5.41 | 3.55 | 1.38 | 1.54 | 83.51
G | Three Lynx | 2.82 | 5.29 | 11.03 | 11.27 | 10.47 | 8.85 | 7.58 | 5.94 | 4.36 | 3.01 | 1.01 | 1.08 | 72.71
Ratios of Annual Rainfall by Month, inch/inch |  | Month Sep: Month
Index | Rainfall Station | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Annual
| Reference: | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Estacada 2 Se | 0.041527 | 0.080195 | 0.14206 | 0.1424 | 0.13517 | 0.11685 | 0.1039 | 0.085407 | 0.067922 | 0.045057 | 0.017989 | 0.02152 | 1
B | Government Camp | 0.040577 | 0.073377 | 0.14799 | 0.16208 | 0.14495 | 0.11531 | 0.095807 | 0.084986 | 0.058611 | 0.042831 | 0.015329 | 0.018147 | 1
C | Headworks Ptld Wtr Br | 0.048701 | 0.077797 | 0.13611 | 0.14111 | 0.13012 | 0.11239 | 0.10227 | 0.087912 | 0.06993 | 0.050824 | 0.019605 | 0.023227 | 1
D | N Willamette Exp Stn. | 0.041549 | 0.078873 | 0.15211 | 0.15845 | 0.13944 | 0.11901 | 0.10047 | 0.073709 | 0.058685 | 0.04108 | 0.017136 | 0.019484 | 1
E | Oregon City | 0.041911 | 0.07557 | 0.14745 | 0.157 | 0.14311 | 0.11965 | 0.10206 | 0.075136 | 0.058632 | 0.039739 | 0.018024 | 0.021716 | 1
F | Scotts Mills 8 SE | 0.040115 | 0.074123 | 0.14645 | 0.14932 | 0.13938 | 0.11819 | 0.10813 | 0.082026 | 0.064783 | 0.04251 | 0.016525 | 0.018441 | 1
G | Three Lynx | 0.038784 | 0.072755 | 0.1517 | 0.155 | 0.144 | 0.12172 | 0.10425 | 0.081694 | 0.059964 | 0.041397 | 0.013891 | 0.014854 | 1
| County Average: | 0.041881 | 0.076099 | 0.14627 | 0.1522 | 0.13945 | 0.11759 | 0.10241 | 0.081553 | 0.062647 | 0.043348 | 0.016929 | 0.019627 | 1
Generalized Water Requirements, inches/month |  | Month Sep 1: Month | Source: Clackamas County Soil and Water Conservation District
Index | Land Type | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Annual
0 | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
A | Traditional Lawn | 8.66 | 4.33 | 0 | 0 | 0 | 0 | 0 | 4.33 | 4.33 | 4.33 | 8.66 | 8.66 | 43.3
B | Flower Garden | 8.66 | 4.33 | 0 | 0 | 0 | 0 | 0 | 4.33 | 4.33 | 4.33 | 8.66 | 8.66 | 43.3
C | Vegetable Garden | 10.825 | 5.4125 | 0 | 0 | 0 | 0 | 0 | 5.4125 | 5.4125 | 5.4125 | 10.825 | 10.825 | 54.125
D | Fruit Orchard | 9.7425 | 4.8712 | 0 | 0 | 0 | 0 | 0 | 4.8712 | 4.8712 | 4.8712 | 9.7425 | 9.7425 | 48.7125
E | Re-establishment of native vegetation | 6.495 | 3.2475 | 0 | 0 | 0 | 0 | 0 | 3.2475 | 3.2475 | 3.2475 | 6.495 | 6.495 | 32.475
F | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Generalized Unit Costs |  | Month Sep: Values
Item | Units | Month Sep: 0
Storage | Cost per gallon | bar: Month Sep
Water | Cost per gallon (from public source) | Month Sep: 0.003